S9 Table. Precursors and transition ions used for targeted metabolomics by MRM-MS

| Compound | Abbreviation | Precursor m/z | Transitions m/z | Retention Time (Min) 100 mm column | Retention Time (min) 150 mm column | LOD (ng/ml) | LOQ (ng/ml) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Riboflavin | RF | 377.2 | 243.1 | 5.6 | 6.2 | 1.949 | 5.907 |
|  |  |  | 192 |  |  |  |  |
|  |  |  | 172 |  |  |  |  |
| Dimethyl-ribityl lumazine | DMRL | 327.1 | 193 | 1.9 | 2.5 | 40.3992 | 122.4218 |
|  |  |  | 148 |  |  |  |  |
|  |  |  | 69.2 |  |  |  |  |
| 5-amino ribitylaminouracil | 5-A-RU | 277.1 | 155 | NA | 1.3 | NA | NA |
|  |  |  | 69.2 |  |  |  |  |
|  |  |  | 57.2 |  |  |  |  |