Supplement to “Fe Kα XANES, Fe Kβ HERFD XANES and EPMA flank method determinations of the oxidation state of Fe in garnet” by Holycross et al.

List of Supplementary Materials:
1. Excel file:

- Tab 1: major element compositions of garnet reference materials

- Tab 2: all E0.9 values for garnet reference materials used in Fe Kα XANES calibration

- Tab 3: statistics and parameters for E0.9 Fe Kα XANES calibration

- Tab 4: major element composition and XANES data for eclogitic garnets from Kopylova et al. (2016)

- Tab 5: centroid fit statistics for HERFD Fe Kβ XANES pre-edges

- Tab 6: comparison of XANES I-ratio, HERFD Fe Kβ centroids and E0.9 parameters for garnet reference materials

- Tab 7: uncorrected Fe Kα XANES (single) and HERFD Fe Kβ (13 merged) spectra for garnet reference material FRB131

- Tab 8: flank method calibration used on the NMNH electron microprobe

- Tab 9: flank method statistics for garnet reference materials measured at 60 and 80 nA

- Tab 10: comparison of all flank method and Kα XANES data for garnet reference materials

- Tab 11: flank method analyses of garnets with unknown Fe3+/∑Fe ratios

- Tab 12: comparison of standard errors of flank method and XANES

- Tab 13: collection coordinates of Syros eclogites

2. Zipped folder: unprocessed 001 files for all garnet spectra detailed in this manuscript. Garnet spectra have not been corrected for the effects of overabsorption or normalized to internal standards to correct for energy drift between sessions.

3. This document: Compositional information for garnets and additional information on flank method analyses of garnets with unknown Fe3+/∑Fe ratios

We plotted the compositions of all garnets referenced in the main text on a ternary diagram shown in Supplemental Figure 1. Additional information may be found in the original manuscripts describing these samples (see Tab 1 of the Excel file).

We collected flank method traverses on two garnets (JAGSY-61D grt 2; JAGSY-229A grt 2) in exhumed eclogitic terranes in Syros, Greece. Line scans were constructed with points taken every 50 μm (JAGSY-61D grt 2) or 75 μm (JAGSY-229A grt 2). Backscattered electron images of the two garnets are shown in Supplemental Figure 2, with the direction of flank method traverses illustrated by the white dashed arrow. Data collected on cracks or on phases other than garnet were eliminated and not included in our analysis. Fe3+/∑Fe ratios calculated with flank method are shown in Supplemental Figure 2. There does not appear to be meaningful core-to-rim variations in the Fe3+/∑Fe ratios of the garnets measured with the flank method. The high Fe3+/∑Fe of the point at 200 μm in Supplemental Figure 2a is potentially the result of secondary fluorescence from a nearby clinopyroxene inclusion. Fe3+/∑Fe ratios calculated from XANES are pictured at the point of analysis on the backscattered electron images in Supplemental Figure 2. The Fe3+/∑Fe ratios calculated from XANES skew to lower averages compared to those calculated from the flank method. Fe3+/∑Fe ratios<0.013 are below the detection limit of our E0.9 XANES calibration.

We compare the Fe3+/∑Fe ratios calculated with the flank method and XANES for experimental and natural garnets with previously uncharacterized Fe3+/∑Fe ratios in Supplemental Figure 3. At least three flank method and XANES analyses were taken on each garnet to calculate the mean (plotted data points) and standard deviation (error bars) of the analyses. We caution thatall but two reported flank analyses are the mean of <10 analyses (the recommended number of analyses for calculating accurate Fe3+/∑Fe ratios with the flank method; e.g., Hezel et al. 2024). Most of the flank method measurements yield Fe3+/∑Fe=0.08, while the XANES measurements span Fe3+/∑Fe= 0.03- 0.11.

Supplemental Figure 1

Compositions of all garnets referenced in the main text plotted on an almandine-grossular-pyrope (alm-grs-py) ternary diagram. All Fe in the garnet has been calculated as Fe2+. XANES calibration garnets (red squares) tend towards either the pyrope endmember (for natural garnets) or almandine-grossular solid solutions (experimental garnets). However, our preferred E0.9 XANES calibration appears to be independent of composition and accurately predicts the Fe3+/∑Fe ratios of Slave craton garnets (dark blue squares) that span a range of solid solutions.

Supplemental Figure 2

Backscattered electron images of natural eclogitic garnets from Syros, Greece. The dashed white line shows the location and direction of flank method traverses. Calculated Fe3+/∑Fe ratios along the traverse are plotted below respective garnets. Each data point along the traverse represents n=1 flank method analysis.  The light blue spots and text show the location and values of garnet Fe3+/∑Fe ratios measured with XANES.

Supplemental Figure 3

Fe3+/∑Fe ratios of “unknown” natural eclogitic (black squares) and experimental (white squares) garnets. Data points are the mean of at least three analyses. Error bars show the standard deviation of the mean.