S1 Table. Settings for computed-tomographic scans of each of the specimens described.

| Scans conducted at UChicago Hospital medical imaging facility by Nicholas Gruszauskas and David Klein on a Philips Brilliance iCT 256-slice multi-detector CT scanner |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Specimen | Pixel spacing (mm) |  | Spacing between slices (mm) |  |  | Exposure |  | Exposure time (ms) |  | X-ray tube current (uA) |  | KVP (kV) |  | Convolution kernel |  | Projections |
| MNBH GAD500 dorsal vert. 2 | 0.5104 |  | 0.4 |  |  | 99 |  | 1913 |  | 52 |  | 120 |  | YD |  | 2038 |
| FSAC-KK 11888 dorsal vert. 6 | 0.9766 |  | 0.4 |  |  | 39 |  | 1347 |  | 29 |  | 120 |  | YC |  | 2613 |
| FSAC-KK 11888 dorsal vert. 8 | 0.6510 |  | 0.335 |  |  | 175 |  | 1309 |  | 134 |  | 120 |  | YC |  | 2734 |
| MNBH GAD500 dorsal vert. 12 | 0.5234 |  | 0.4 |  |  | 99 |  | 1913 |  | 52 |  | 120 |  | YD |  | 2247 |
| MNBH GAD500 sacral vert. 2 centrum | 0.6510 |  | 0.335 |  |  | 175 |  | 1309 |  | 134 |  | 120 |  | YC |  | 2733 |
| FSAC-KK 11888 sacral vert. 3 centrum | 0.4688 |  | 0.4 |  |  | 99 |  | 1913 |  | 52 |  | 120 |  | YD |  | 2107 |
| MNBH GAD500 left femur | 0.6250 |  | 0.335 |  |  | 200 |  | 1309 |  | 153 |  | 140 |  | YC |  | 3397 |
| FSAC-KK 11888 left femur | 0.4518 |  | 0.4 |  |  | 99 |  | 1913 |  | 52 |  | 120 |  | YD |  | 2376 |
| UCRC PV8 right phalanx I-1 | 0.2747 |  | 0.335 |  |  | 175 |  | 1309 |  | 134 |  | 120 |  | YC |  | 1492 |
| Scans conducted at the Transportation Safety Board of Canada Engineering Laboratory by Vincent Bolduc and Jordan Mallon on a North Star Imaging X-view X500 CT scanner |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Specimen |  | Voxel Size (mm) |  | Focal spot size (um) |  |  | Frame Averaging |  | Exposure (ms) |  | Current (uA) |  | Voltage (kV) |  | Filter | Projections |
| CMN 50382 femur |  | 0.0911 |  | 11 |  |  | 4 |  | 250 |  | 60 |  | 190 |  | 1 Cu | 1440 |
| CMN 41869 partial right femur |  | 0.0911 |  | 0 |  |  | 2 |  | 250 |  | 61 |  | 190 |  | 1 Cu | 3003 |
| Scans used from previously published papers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BSPG-2006-I-54 ant. dorsal vert |  |  |  |  | https://figshare.com/articles/dataset/DICOM_BSPG_2006_I_54/1471654/1 |  |  |  |  |  |  |  |  |  |  |  |
| NHMUK R 9951 right femur |  |  |  |  | https://www.morphosource.org/concern/parent/000406876/media/000406878 |  |  |  |  |  |  |  |  |  |  |  |